## OutputShares
Table 1. Regional Shares of In-State Generation Target
The Table 1 column labeled "Target New MWh" contains each region's generation output target, determined based on its share of State population. Using the assumptions in Table 2, Planners can determine the types (technology) and amounts of installed capacity (in MW) that meet these output targets. All known permitted renewable generation capacity has been factored into each region's output target, as shown in the column labled "Existing MWh."
Table 2. Technology Specific MWh Output Assumptions
Region | Share of Overall In-State Generation Output Target* |  |  |  | Technology | Capacity Factor | Annual MWh Output per MW of Installed Capacity
| Share of Population | Target Total MWh | Existing MWh | Target New MWh
Addison | 5.791% | 287451.6401 | 145538.4731 | 141913.1671 | Solar | 14%-16% | 1300
Bennington | 5.618% | 278833.1606 | 15785.428 | 263047.7327 | Small Wind | 20%-25% | 2000
Central Vermont | 10.31% | 511848.9633 | 148634.7892 | 363214.1741 | Utility Scale Wind | 25%-35% | 2600
Chittenden | 25.49% | 1265134.1738 | 556622.9772 | 708511.1966 | Methane | 60%-90% | 6600
Lamoille | 3.994% | 198248.7929 | 33746.352 | 164502.441 | Biomass | 60%-80% | 6100
Northeastern | 10.27% | 546281.981 | 546281.981 | 0 | Small Hydro | 40%-60% | 4400
Northwest | 8.837% | 438607.7302 | 225570.3619 | 213037.3683
Rutland | 9.566% | 474816.4341 | 86854.2573 | 387962.1768 | Note Regarding Limits to Growth in Capacity of Technologies other than Solar and Wind
Southern Windsor | 3.988% | 197939.8585 | 24719.6933 | 173220.1651 | Below are Department estimates of the statewide potential for NEW generation capacity (in addition to currently existing capacity) of Methane Digester, Small Hydro, and Biomass technologies.
Two Rivers | 8.822% | 437894.8045 | 88588.009 | 349306.7955
Windham | 7.312% | 362942.5498 | 304449.9585 | 58492.5913
Statewide | 100% | 5000000.0889 | 2176792.2805 | 2823207.8084 | Farm Digesters: | 20 to 25 MW | capable of producing: | 125,000 to 150,000 MWh per year
[5 empty] | Food Digesters: | 2 to 5 MW | capable of producing: | 5,000 to 25,000 MWh per year
*In developing generation targets for their municipalities, regions may wish to simply take their final net generation targets (MWh after existing resources are subtracted) and allocate based on each municipality’s share of the region’s population. Alternatively, regions might wish to take gross generation targets (MWh before existing resources are subtracted), allocate based on municipal population, and subtract existing generation resources located within each municipality's borders. The latter approach will require regions to estimate existing generation for each municipality based on installed capacity in each municipality. |  |  |  |  | Small Hydro: | 100 to 200 MW | capable of producing: | 400,000 to 900,000 MWh per year
[5 empty] | Biomass: | 100 to 200 MW | capable of producing: | 600,000 to 125,000 MWh per year
As a point of reference, planners should understand that even if it is assumed that each of these resources is fully developed at the scales contemplated above, this would leave as much as 1,000,000 MWh or more of output that the state as a whole would still need to supply with new in-state capacity if Vermont is to meet the "New MWh" targets in Table 1. Thus it is unlikely (though not impossible) that any one region will meet its own "New MWh" target exclusively through the development of some combination of Digester, Hydro and Biomass resources. Plans that propose to do so are expected to include clear implementation actions and policy statements (per the Pathways section of the Department's Determination Standards) that support the development of these resources at a scale consistent with the Energy Plan's estimate of their local generation potential.
Note on I9: A capacity factor is an estimate of the percentage of the theoretical maximum generating potential that a given resource will realize over the course of a year, accounting for seasonal and operational variability.A capacity factor of 15% for a Solar array, for example, means that on average over the course of a year the generator operates at 15% of it's nameplate capacity.
Note on E10: This is estimated by the Department based on the generators permitted in each region as of September 2016
Note on D22: This represents between 50% and 60% of a total future volume of electricity consumption projected to fall in the range of 9 million to 10 million MWh or more, significantly greater than the level of consumption today, which stands at less than 6 million MWh.

## PotentialShares
Region | share of solar power potential | share of wind power potential
Addison | 10.29% | 9.399%
Bennington | 4.77% | 8.249%
Central Vermont | 7.005% | 6.812%
Chittenden | 6.326% | 4.651%
Lamoille | 5.197% | 2.358%
Northeastern | 24.68% | 18.42%
Northwest | 11.06% | 9.751%
Rutland | 8.405% | 11.12%
Southern Windsor | 3.282% | 2.911%
Two Rivers | 9.24% | 10.77%
Windham | 9.744% | 15.55%